# Calibration of Microscopic Images

(for ZEISS microscope in Eric Nelson’s lab)

Chia-Lin Chung/ May 14, 2007

Eyepiece reticule (scale 1~10)

10X magnification: 1 scale = 95 (m

25X magnification: 1 scale = 38 (m

40X magnification: 1 scale = 23.5 (m

## Scale bar

Reference image – pictures of stage micrometer taken by SONY microscopic camera

– the smallest increment = 10 (m

10X:

25X:

40X: