6/19/03											Grace

Picogreen Quantification DNA

- dilute DNA: 1:100 or 1:200… according to your DNA estimate concentration. Should be in standard curve’s range (in TE).

- dilute dye 1:200 (use TE)

How many samples( decide making how much total volume (100 µl diluted dye/sample) at least 10% extra making.

eg. 6 samples, make dilute dye for 7 samples

3.5 	µl dye

+	696.5	µl TE (pH 8)

total	700 	µl

- make standard curve

dilute stock DNA 100ng/µl ( 2ng/µl

2   µl stock

+  98   µl TE

- µl (2 ng/µl)

a. 100µl + 100µl TE		1 ng/µl

b. 100µl + 100µl TE		0.5 ng/µl

c. 100µl + 100µl TE		0.25 ng/µl

d. 100uL + 100µl TE		0.125 ng/µl

e. 100µl + 100µl TE		0.0625 ng/µl

f. 100µl + 100µl TE		0.03125 ng/µl

g. 100µl + 100µl TE		0.01563 ng/µl

h. 100µl + 100µl TE		0.007815 ng/µl  ( 100µl discard

i. 100µl + 100µl TE		0 ng/µl

For black plate: 	100µl diluted DNA

100µl diluted dye

4. Read on speceraFluor machine

start( program ( Tecan( xFluor4( enable Macros( xFluor4menu(connect( find any( OK ( plate move in( xFluormenu( Edit measurement( Fluorescence( Meas.Params tab( Exciatation:485, Emission: 535, Flash 10( OK( start measurement (x-Fluor4)